## Advanced
Firmware | 004.005.000
Default Template | 7400_Advanced_V4.5.0.0.0
Module Name | Total Modules Available | # Modules Used | One Second Update | Half-cycle Update
Alarm Options | 1 | 1 | ✓ | -
Alert | 10 | 0 | ✓ | ✓
Analog In | 16 | 16 | ✓ | ✓
Analog Out | 8 | 8 | ✓ | ✓
AND/OR | 50 | 37 | ✓ | ✓
Arithmetic | 100 | 70 | ✓ | -
Averaging | 50 | 8 | ✓ | -
Bin | 15 | 3 | ✓ | ✓
Calibration Pulser | 10 | 8 | ✓ | -
Clock | 1 | 1 | ✓ | -
Comm | 5 | 5 | ✓ | -
COMTRADE | 3 | 1 | - | ✓
Convert | 80 | 34 | ✓ | ✓
Counter | 50 | 44 | ✓ | ✓
Data Acqn | 1 | 1 | - | ✓
Data Mapping Dmd | 1 | 1 | ✓ | -
Data Mapping Egy | 1 | 1 | ✓ | -
Data Mapping EN Prev | 1 | 1 | ✓ | -
Data Mapping EN | 1 | 1 | ✓ | -
Data Mapping I/O | 1 | 1 | ✓ | -
Data Mapping IEEE519 | 1 | 1 | ✓ | -
Data Mapping Meas | 1 | 1 | ✓ | -
Data Mapping PQ | 1 | 1 | ✓ | -
Data Mapping Stats | 1 | 1 | ✓ | -
Data Mapping TOU | 1 | 1 | ✓ | -
Data Rec | 64 | 58 | ✓ | ✓
Diagnostics | 1 | 1 | - | ✓
Digital In | 27 | 27 | ✓ | ✓
Digital Out | 13 | 9 | ✓ | ✓
Display Options | 1 | 1 | ✓ | -
Display | 50 | 8 | ✓ | -
Dist Direction Detection | 1 | 1 | - | ✓
Disturbance Analyzer | 6 | 3 | ✓ | ✓
DLMS Log Export Module | 50 | 2 | ✓ | -
DNP Slave Export | 100 | 14 | ✓ | ✓
DNP Slave Import | 16 | 0 | ✓ | -
DNP Slave Options | 3 | 3 | ✓ | -
EventLogCtl | 1 | 1 | ✓ | -
Ext Bool | 75 | 38 | ✓ | -
Ext Num | 40 | 38 | ✓ | -
Ext Pulse | 128 | 35 | ✓ | -
Factory | 1 | 1 | ✓ | -
Feedback | 70 | 34 | ✓ | -
FFT | 12 | 11 | ✓ | -
Flicker | 1 | 1 | ✓ | -
Harmonics Evaluation | 24 | 21 | ✓ | -
Harmonics Measurement | 24 | 20 | ✓ | -
IEC 61850 GGIO Cust AI | 1 | 1 | ✓ | -
IEC 61850 GGIO Cust DI | 1 | 1 | ✓ | -
IEC 61850 GGIO Exp | 4 | 4 | ✓ | -
IEC 61850 GGIO Onb | 1 | 1 | ✓ | -
IEC 61850 MHAI | 1 | 1 | ✓ | -
IEC 61850 MMTR | 1 | 1 | ✓ | -
IEC 61850 MMXU | 1 | 1 | ✓ | -
IEC 61850 MSQI | 1 | 1 | ✓ | -
IEC 61850 MSTA | 1 | 1 | ✓ | -
Instr Xformer Correction | 7 | 7 | ✓ | -
Integrator | 125 | 91 | ✓ | -
Log Export | 50 | 0 | ✓ | -
Mains Signaling Evaluation | 5 | 3 | ✓ | -
Maximum | 245 | 151 | ✓ | ✓
Minimum | 100 | 68 | ✓ | ✓
Modbus Export | 64 | 0 | ✓ | -
Modbus Master Device | 128 | 0 | ✓ | -
Modbus Master Map | 40 | 0 | ✓ | -
Modbus Master Options | 1 | 1 | ✓ | -
Modbus Slave | 20 | 0 | ✓ | ✓
OneShot Tmr | 30 | 19 | ✓ | ✓
Periodic Tmr | 30 | 17 | ✓ | ✓
Power Harmonics | 5 | 1 | ✓ | -
Power Meter | 3 | 3 | ✓ | ✓
Power Quality Aggregator | 1 | 1 | - | ✓
Pulse Merge | 80 | 69 | ✓ | ✓
Pulser | 10 | 1 | ✓ | -
Relative Setpoint | 30 | 4 | ✓ | ✓
Sag/Swell | 1 | 1 | ✓ | ✓
Scheduler | 11 | 0 | ✓ | -
Security Options | 1 | 1 | ✓ | -
Security User | 50 | 1 | ✓ | -
Setpoint | 65 | 15 | ✓ | ✓
Signal Limit Evaluation | 15 | 12 | ✓ | -
SNMP Mapping | 5 | 5 | ✓ | -
SNMP Options | 1 | 1 | ✓ | -
Store | 60 | 47 | ✓ | ✓
SWinDemand | 100 | 55 | ✓ | -
Symm Comp | 3 | 3 | ✓ | -
ThrmDemand | 70 | 0 | ✓ | -
Time Of Use | 2 | 1 | ✓ | -
Trending and Forecasting | 20 | 10 | ✓ | -
Voltage Selection | 2 | 2 | ✓ | ✓
Wform Rec | 21 | 6 | - | ✓

## Standard
Firmware | 004.005.000
Default Template | 7400_Standard_V4.5.0.0.0
Module Name | Total Modules Available | # Modules Used | One Second Update | Half-cycle Update
Alarm Options | 1 | 1 | ✓ | -
Alert | 10 | 0 | ✓ | ✓
Analog In | 16 | 16 | ✓ | ✓
Analog Out | 8 | 8 | ✓ | ✓
AND/OR | 50 | 36 | ✓ | ✓
Arithmetic | 100 | 69 | ✓ | -
Averaging | 50 | 8 | ✓ | -
Bin | 15 | 3 | ✓ | ✓
Calibration Pulser | 10 | 8 | ✓ | -
Clock | 1 | 1 | ✓ | -
Comm | 5 | 5 | ✓ | -
COMTRADE | 3 | 1 | - | ✓
Convert | 80 | 34 | ✓ | ✓
Counter | 50 | 44 | ✓ | ✓
Data Acqn | 1 | 1 | - | ✓
Data Mapping Dmd | 1 | 1 | ✓ | -
Data Mapping Egy | 1 | 1 | ✓ | -
Data Mapping EN Prev | 1 | 1 | ✓ | -
Data Mapping EN | 1 | 1 | ✓ | -
Data Mapping I/O | 1 | 1 | ✓ | -
Data Mapping IEEE519 | 1 | 1 | ✓ | -
Data Mapping Meas | 1 | 1 | ✓ | -
Data Mapping PQ | 1 | 1 | ✓ | -
Data Mapping Stats | 1 | 1 | ✓ | -
Data Mapping TOU | 1 | 1 | ✓ | -
Data Rec | 50 | 38 | ✓ | ✓
Diagnostics | 1 | 1 | - | ✓
Digital In | 27 | 27 | ✓ | ✓
Digital Out | 13 | 9 | ✓ | ✓
Display Options | 1 | 1 | ✓ | -
Display | 40 | 8 | ✓ | -
Dist Direction Detection | 1 | 1 | - | ✓
Disturbance Analyzer | 6 | 3 | ✓ | ✓
DLMS Log Export Module | 50 | 2 | ✓ | -
DNP Slave Export | 100 | 14 | ✓ | ✓
DNP Slave Import | 16 | 0 | ✓ | -
DNP Slave Options | 3 | 3 | ✓ | -
EventLogCtl | 1 | 1 | ✓ | -
Ext Bool | 75 | 37 | ✓ | -
Ext Num | 40 | 38 | ✓ | -
Ext Pulse | 128 | 35 | ✓ | -
Factory | 1 | 1 | ✓ | -
Feedback | 70 | 33 | ✓ | -
FFT | 12 | 11 | ✓ | -
Flicker | 1 | 1 | ✓ | -
Harmonics Evaluation | 24 | 18 | ✓ | -
Harmonics Measurement | 24 | 20 | ✓ | -
IEC 61850 GGIO Cust AI | 1 | 1 | ✓ | -
IEC 61850 GGIO Cust DI | 1 | 1 | ✓ | -
IEC 61850 GGIO Exp | 4 | 4 | ✓ | -
IEC 61850 GGIO Onb | 1 | 1 | ✓ | -
IEC 61850 MHAI | 1 | 1 | ✓ | -
IEC 61850 MMTR | 1 | 1 | ✓ | -
IEC 61850 MMXU | 1 | 1 | ✓ | -
IEC 61850 MSQI | 1 | 1 | ✓ | -
IEC 61850 MSTA | 1 | 1 | ✓ | -
Instr Xformer Correction | 7 | 7 | ✓ | -
Integrator | 125 | 91 | ✓ | -
Log Export | 50 | 0 | ✓ | -
Mains Signaling Evaluation | 5 | 3 | ✓ | -
Maximum | 245 | 151 | ✓ | ✓
Minimum | 100 | 68 | ✓ | ✓
Modbus Export | 64 | 0 | ✓ | -
Modbus Master Device | 128 | 0 | ✓ | -
Modbus Master Map | 40 | 0 | ✓ | -
Modbus Master Options | 1 | 1 | ✓ | -
Modbus Slave | 20 | 0 | ✓ | ✓
OneShot Tmr | 30 | 19 | ✓ | ✓
Periodic Tmr | 30 | 17 | ✓ | ✓
Power Harmonics | 5 | 1 | ✓ | -
Power Meter | 3 | 3 | ✓ | ✓
Power Quality Aggregator | 1 | 1 | - | ✓
Pulse Merge | 80 | 68 | ✓ | ✓
Pulser | 10 | 1 | ✓ | -
Relative Setpoint | 30 | 4 | ✓ | ✓
Sag/Swell | 1 | 1 | ✓ | ✓
Scheduler | 11 | 0 | ✓ | -
Security Options | 1 | 1 | ✓ | -
Security User | 50 | 1 | ✓ | -
Setpoint | 65 | 15 | ✓ | ✓
Signal Limit Evaluation | 15 | 12 | ✓ | -
SNMP Mapping | 5 | 5 | ✓ | -
SNMP Options | 1 | 1 | ✓ | -
Store | 60 | 46 | ✓ | ✓
SWinDemand | 100 | 55 | ✓ | -
Symm Comp | 3 | 3 | ✓ | -
ThrmDemand | 70 | 0 | ✓ | -
Time Of Use | 2 | 1 | ✓ | -
Trending and Forecasting | 20 | 10 | ✓ | -
Voltage Selection | 2 | 2 | ✓ | ✓
Wform Rec | 21 | 6 | - | ✓

## Essential
Firmware | 004.005.000
Default Template | 7400_Essential_V4.5.0.0.0
Module Name | Total Modules Available | # Modules Used | One Second Update | Half-cycle Update
Alarm Options | 1 | 1 | ✓ | -
Alert | 10 | 0 | ✓ | ✓
Analog In | 16 | 16 | ✓ | ✓
Analog Out | 8 | 8 | ✓ | ✓
AND/OR | 50 | 17 | ✓ | ✓
Arithmetic | 100 | 49 | ✓ | -
Averaging | 50 | 2 | ✓ | -
Bin | 15 | 0 | ✓ | ✓
Calibration Pulser | 10 | 8 | ✓ | -
Clock | 1 | 1 | ✓ | -
Comm | 5 | 5 | ✓ | -
COMTRADE | 3 | 1 | - | ✓
Convert | 80 | 18 | ✓ | ✓
Counter | 50 | 20 | ✓ | ✓
Data Acqn | 1 | 1 | - | ✓
Data Mapping Dmd | 1 | 1 | ✓ | -
Data Mapping Egy | 1 | 1 | ✓ | -
Data Mapping EN Prev | 1 | 1 | ✓ | -
Data Mapping EN | 1 | 1 | ✓ | -
Data Mapping I/O | 1 | 1 | ✓ | -
Data Mapping IEEE519 | 1 | 1 | ✓ | -
Data Mapping Meas | 1 | 1 | ✓ | -
Data Mapping PQ | 1 | 1 | ✓ | -
Data Mapping Stats | 1 | 1 | ✓ | -
Data Mapping TOU | 1 | 1 | ✓ | -
Data Rec | 10 | 4 | ✓ | ✓
Diagnostics | 1 | 1 | - | ✓
Digital In | 27 | 27 | ✓ | ✓
Digital Out | 13 | 9 | ✓ | ✓
Display Options | 1 | 1 | ✓ | -
Display | 20 | 8 | ✓ | -
Disturbance Analyzer | 6 | 2 | ✓ | ✓
DLMS Log Export Module | 10 | 2 | ✓ | -
DNP Slave Export | 25 | 14 | ✓ | ✓
DNP Slave Import | 16 | 0 | ✓ | -
DNP Slave Options | 3 | 3 | ✓ | -
EventLogCtl | 1 | 1 | ✓ | -
Ext Bool | 75 | 25 | ✓ | -
Ext Num | 40 | 34 | ✓ | -
Ext Pulse | 128 | 31 | ✓ | -
Factory | 1 | 1 | ✓ | -
Feedback | 70 | 10 | ✓ | -
FFT | 12 | 11 | ✓ | -
Harmonics Measurement | 24 | 17 | ✓ | -
IEC 61850 GGIO Cust AI | 1 | 1 | ✓ | -
IEC 61850 GGIO Cust DI | 1 | 1 | ✓ | -
IEC 61850 GGIO Exp | 4 | 4 | ✓ | -
IEC 61850 GGIO Onb | 1 | 1 | ✓ | -
IEC 61850 MHAI | 1 | 1 | ✓ | -
IEC 61850 MMTR | 1 | 1 | ✓ | -
IEC 61850 MMXU | 1 | 1 | ✓ | -
IEC 61850 MSQI | 1 | 1 | ✓ | -
IEC 61850 MSTA | 1 | 1 | ✓ | -
Instr Xformer Correction | 7 | 7 | ✓ | -
Integrator | 125 | 91 | ✓ | -
Log Export | 50 | 0 | ✓ | -
Maximum | 245 | 118 | ✓ | ✓
Minimum | 100 | 47 | ✓ | ✓
Modbus Export | 64 | 0 | ✓ | -
Modbus Master Device | 128 | 0 | ✓ | -
Modbus Master Map | 40 | 0 | ✓ | -
Modbus Master Options | 1 | 1 | ✓ | -
Modbus Slave | 20 | 0 | ✓ | ✓
OneShot Tmr | 30 | 10 | ✓ | ✓
Periodic Tmr | 30 | 12 | ✓ | ✓
Power Harmonics | 5 | 1 | ✓ | -
Power Meter | 3 | 3 | ✓ | ✓
Pulse Merge | 80 | 43 | ✓ | ✓
Pulser | 10 | 1 | ✓ | -
Relative Setpoint | 30 | 4 | ✓ | ✓
Sag/Swell | 1 | 1 | ✓ | ✓
Scheduler | 11 | 0 | ✓ | -
Security Options | 1 | 1 | ✓ | -
Security User | 50 | 1 | ✓ | -
Setpoint | 65 | 11 | ✓ | ✓
SNMP Mapping | 5 | 5 | ✓ | -
SNMP Options | 1 | 1 | ✓ | -
Store | 60 | 16 | ✓ | ✓
SWinDemand | 100 | 55 | ✓ | -
Symm Comp | 3 | 3 | ✓ | -
ThrmDemand | 70 | 0 | ✓ | -
Time Of Use | 2 | 1 | ✓ | -
Voltage Selection | 2 | 1 | ✓ | ✓
Wform Rec | 8 | 6 | - | ✓