## Contactors
Current Reference | Pcs/ref | Replaced by | pcs needed in new reference
LC1D115M7 | 1 | LC1D115AKUE | 1
LC1D150M7 | 1 | LC1D150AKUE | 1
LC1D115P7 | 1 | LC1D115AKUE | 1
LC1D115F7 | 1 | LC1D115AEHE | 1
LC1D150P7 | 1 | LC1D150AKUE | 1
LC1D150F7 | 1 | LC1D150AEHE | 1
LC1D115G7 | 1 | LC1D115AEHE | 1
LC1D150G7 | 1 | LC1D150AEHE | 1
LC1D115B7 | 1 | LC1D115ABNE | 1
LC1D115BD | 1 | LC1D115ABNE | 1
LC1D1150046N5 | 1 | LC1DT200A6LSE | 1
LC1D150BD | 1 | LC1D150ABNE | 1
LC1D115M5 | 1 | LC1D115AKUE | 1
LC1D115U7 | 1 | LC1D115AKUE | 1
LC1D1506BD | 1 | LC1D150A6BNE | 1
LC1D1156M7 | 1 | LC1D115A6KUE | 1
LC1D115004P7 | 1 | LC1DT200AKUE | 1
LC1D1506M7 | 1 | LC1D150A6KUE | 1
LC1D150B7 | 1 | LC1D150ABNE | 1
LC1D115E7 | 1 | LC1D115ABNE | 1
LC1D150U7 | 1 | LC1D150AKUE | 1
LC1D115004M7 | 1 | LC1DT200AKUE | 1
LC1D115P5 | 1 | LC1D115AKUE | 1
LC1D150E7 | 1 | LC1D150ABNE | 1
LC1D115FE7 | 1 | LC1D115AEHE | 1
LC1D1506G7 | 1 | LC1D150A6EHE | 1
LC1D1156P7 | 1 | LC1D115A6KUE | 1
LC1D1506U7 | 1 | LC1D150A6KUE | 1
LC1D1150046M5 | 1 | LC1DT200A6KUE | 1
LC1D1150046P7 | 1 | LC1DT200A6KUE | 1
LC1D1156F7 | 1 | LC1D115A6EHE | 1
LC1D1156U7 | 1 | LC1D115A6KUE | 1
LC1D150FE7 | 1 | LC1D150AEHE | 1
LC1D1150046M7 | 1 | LC1DT200A6KUE | 1
LC1D115V7 | 1 | LC1D115ALSE | 1
LC1D1156BD | 1 | LC1D115A6BNE | 1
LC1D115E5 | 1 | LC1D115ABNE | 1
LC1D1150046U7 | 1 | LC1DT200A6KUE | 1
LC1D150MD | 1 | LC1D150AKUE | 1
LC1D115Q7 | 1 | LC1D115ALSE | 1
LC1D115SD | 1 | LC1D115AEHE | 1
LC1D115MD | 1 | LC1D115AKUE | 1
LC1D115FD | 1 | LC1D115AEHE | 1
LC1D150Q7 | 1 | LC1D150ALSE | 1
LC1D150V7 | 1 | LC1D150ALSE | 1
LC1D115G6 | 1 | LC1D115AEHE | 1
LC1D1156B7 | 1 | LC1D115A6BNE | 1
LC1D1506F7 | 1 | LC1D150A6EHE | 1
LC1D150R7 | 1 | LC1D150ALSE | 1
LC1D115R7 | 1 | LC1D115ALSE | 1
LC1D1506P7 | 1 | LC1D150A6KUE | 1
LC1D1156FE7 | 1 | LC1D115A6EHE | 1
LC1D150N7 | 1 | LC1D150ALSE | 1
LC1D115004U7 | 1 | LC1DT200AKUE | 1
LC1D115GDS003 | 1 | LC1D115AEHE | 1
LC1D115N7 | 1 | LC1D115ALSE | 1
LC1D115004M5 | 1 | LC1DT200AKUE | 1
LC1D1156L7 | 1 | LC1D115A6KUE | 1
LC1D1506E7 | 1 | LC1D150A6BNE | 1
LC1D150FD | 1 | LC1D150AEHE | 1
LC1D1506B7 | 1 | LC1D150A6BNE | 1
LC1D115LE7 | 1 | LC1D115AKUE | 1
LC1D115GD | 1 | LC1D115AEHE | 1
LC1D115004BD | 1 | LC1DT200ABNE | 1
LC1D1156M5 | 1 | LC1D115A6KUE | 1
LC2D115P7 | 2 | LC1D115AKUE | 2
LC2D115M7 | 2 | LC1D115AKUE | 2
LC1D150T7 | 1 | LC1D150ALSE | 1
LC1D115ED | 1 | LC1D115ABNE | 1
LC2D1156M7 | 2 | LC1D115A6KUE | 2
LC1D115004B7 | 1 | LC1DT200ABNE | 1
LC1D150ED | 1 | LC1D150ABNE | 1
LC1D150GD | 1 | LC1D150AEHE | 1
LC1D1150046BD | 1 | LC1DT200A6BNE | 1
LC1D115F6 | 1 | LC1D115AEHE | 1
LC1D115S7 | 1 | LC1D115ALSE | 1
LC1D115T6 | 1 | LC1D115ALSE | 1
LC2D150P7 | 2 | LC1D150AKUE | 2
LC1D115004G6 | 1 | LC1DT200AEHE | 1
LC1D115T7 | 1 | LC1D115ALSE | 1
LC1D1156FD | 1 | LC1D115A6EHE | 1
LC1D1506R7 | 1 | LC1D150A6LSE | 1
LC1D115F5 | 1 | LC1D115AEHE | 1
LC1D115004MD | 1 | LC1DT200AKUE | 1
LC1D1506LE7 | 1 | LC1D150A6KUE | 1
LC1D115D7 | 1 | LC1D115ABNE | 1
LC1D115004F7 | 1 | LC1DT200AEHE | 1
LC1D1156F5 | 1 | LC1D115A6EHE | 1
LC2D1156P7 | 2 | LC1D115A6KUE | 2
LC2D150M7 | 2 | LC1D150AKUE | 2
LC1D150LE7 | 1 | LC1D150AKUE | 1
LC1D1156LE7 | 1 | LC1D115A6KUE | 1
LC3D150P7A64 | 3 | LC1D150AKUE | 3
LC1D1156MD | 1 | LC1D115A6KUE | 1
LC2D115M5 | 2 | LC1D115AKUE | 2
LC1D1506N7 | 1 | LC1D150A6LSE | 1
LC1D115004P5 | 1 | LC1DT200AKUE | 1
LC1D1156R7 | 1 | LC1D115A6LSE | 1
LC3D150P7 | 3 | LC1D150AKUE | 3
LC1D115004Q5 | 1 | LC1DT200ALSE | 1
LC3D150M7A64 | 3 | LC1D150AKUE | 3
LC1D150D7 | 1 | LC1D150ABNE | 1
LC1D1156N7 | 1 | LC1D115A6LSE | 1
LC1D1156E7 | 1 | LC1D115A6BNE | 1
LC1D1506MD | 1 | LC1D150A6KUE | 1
LC2D115P5 | 2 | LC1D115AKUE | 2
LC2D115V7 | 2 | LC1D115ALSE | 2
LC2D115Q7 | 2 | LC1D115ALSE | 2
LC1D115004RD | 1 | LC1DT200ALSE | 1
LC1D1506FD | 1 | LC1D150A6EHE | 1
LC1D1506Q7 | 1 | LC1D150A6LSE | 1
LC1D115004FD | 1 | LC1DT200AEHE | 1
LC1D1156G7 | 1 | LC1D115A6EHE | 1
LC2D150U7 | 2 | LC1D150AKUE | 2
LC1D115004FE7 | 1 | LC1DT200AEHE | 1
LC2D115E7 | 2 | LC1D115ABNE | 2
LC2D1506M7 | 2 | LC1D150A6KUE | 2
LC2D115BD | 2 | LC1D115ABNE | 2
LC1D115B5 | 1 | LC1D115ABNE | 1
LC1D115004ED | 1 | LC1DT200ABNE | 1
LC2D115B7 | 2 | LC1D115ABNE | 2
LC1D115RD | 1 | LC1D115ALSE | 1
LC1D115U5 | 1 | LC1D115AKUE | 1
LC2D115G7 | 2 | LC1D115AEHE | 2
LC2D1506P7 | 2 | LC1D150A6KUE | 2
LC1D115004V7 | 1 | LC1DT200ALSE | 1
LC1D1150046U5 | 1 | LC1DT200A6KUE | 1
LC2D115F7 | 2 | LC1D115AEHE | 2
LC1D15022P7SB411 | 1 | LC1D150AKUE | 1
LC2D150Q7 | 2 | LC1D150ALSE | 2
LC2D115FE7 | 2 | LC1D115AEHE | 2
LC1D1156B5 | 1 | LC1D115A6BNE | 1
LC1D1150046F7 | 1 | LC1DT200A6EHE | 1
LC1D150K7 | 1 | LC1D150AEHE | 1
LC1D115K7 | 1 | LC1D115AEHE | 1
LC1D115L7 | 1 | LC1D115AKUE | 1
LC2D1156F7 | 2 | LC1D115A6EHE | 2
LC2D150V7 | 2 | LC1D150ALSE | 2
LC2D115F5 | 2 | LC1D115AEHE | 2
LC2D150E7 | 2 | LC1D150ABNE | 2
LC1D1150046FD | 1 | LC1DT200A6EHE | 1
LC1D1156K7 | 1 | LC1D115A6EHE | 1
LC1D150L7 | 1 | LC1D150AKUE | 1
LC1D1506L7 | 1 | LC1D150A6KUE | 1
LC1D1156ED | 1 | LC1D115A6BNE | 1
LC1D115004U5 | 1 | LC1DT200AKUE | 1
LC1D1155M7 | 1 | LC1D115AKUE | 1
LC1D1156SD | 1 | LC1D115A6EHE | 1
LC1D1150046MD | 1 | LC1DT200A6KUE | 1
LC1D1156Q7 | 1 | LC1D115A6LSE | 1
LC1D1156P5 | 1 | LC1D115A6KUE | 1
LC1D1150046F5 | 1 | LC1DT200A6EHE | 1
LC1D1150046P5 | 1 | LC1DT200A6KUE | 1
LC1D1156U5 | 1 | LC1D115A6KUE | 1
LC1D115ND | 1 | LC1D115AEHE | 1
LC1D1150046B7 | 1 | LC1DT200A6BNE | 1
LC1D115D5 | 1 | LC1D115ABNE | 1
LC1D115V5 | 1 | LC1D115ALSE | 1
LC1D115004E5 | 1 | LC1DT200ABNE | 1
LC1D1506SD | 1 | LC1D150A6EHE | 1
LC1D15065G7 | 1 | LC1D150A6EHE | 1
LC1D1506ED | 1 | LC1D150A6BNE | 1
LC1D150P7PK | 1 | LC1D150AKUE | 1
LC1D115004E7 | 1 | LC1DT200ABNE | 1
LC1D150SD | 1 | LC1D150AEHE | 1
LC1D150RD | 1 | LC1D150ALSE | 1
LC1D1505M7 | 1 | LC1D150AKUE | 1
LC1D115004B5 | 1 | LC1DT200ABNE | 1
LC1D115004F5 | 1 | LC1DT200AEHE | 1
LC1D115FE5 | 1 | LC1D115AEHE | 1
LC1D115FC7 | 1 | LC1D115ABNE | 1
LC1D150S7 | 1 | LC1D150ALSE | 1
LC1D1156V7 | 1 | LC1D115A6LSE | 1
LC1D115W6 | 1 | LC1D115ALSE | 1
LC1D1150046E7 | 1 | LC1DT200A6BNE | 1
LC1D1505P7 | 1 | LC1D150AKUE | 1
LC1D115B6 | 1 | LC1D115ABNE | 1
LC1D1506FE7 | 1 | LC1D150A6EHE | 1
LC1D115UD | 1 | LC1D115AKUE | 1
LC2D115004P7 | 2 | LC1DT200AKUE | 2
LC1D1150046GD | 1 | LC1DT200A6EHE | 1
LC2D115004EM7 | 2 | LC1DT200AKUE | 2
LC2D115004M7 | 2 | LC1DT200AKUE | 2
LC2D115004M5 | 2 | LC1DT200AKUE | 2
LC2D115004P5 | 2 | LC1DT200AKUE | 2
LC2D1150046M7 | 2 | LC1DT200A6KUE | 2
LC2D1150046P7 | 2 | LC1DT200A6KUE | 2
LC1D1156GD | 1 | LC1D115A6EHE | 1
LC2D150BD | 2 | LC1D150ABNE | 2
LC2D150B7 | 2 | LC1D150ABNE | 2
LC2D150G7 | 2 | LC1D150AEHE | 2
LC2D150F7 | 2 | LC1D150AEHE | 2
LC2D1150046P5 | 2 | LC1DT200A6KUE | 2
LC2D115004FE7 | 2 | LC1DT200AEHE | 2
LC3D115P7A64 | 3 | LC1D115AKUE | 3
LC3D115P7 | 3 | LC1D115AKUE | 3
LC2D150FE7 | 2 | LC1D150AEHE | 2
LC3D150F7 | 3 | LC1D150AEHE | 3
LC1D1506V7 | 1 | LC1D150A6LSE | 1
LC1D15065P7 | 1 | LC1D150A6KUE | 1
LC1D115004SD | 1 | LC1DT200AEHE | 1
LC1D11522P7SB409 | 1 | LC1D115AKUE | 1
LC1D1156E5 | 1 | LC1D115A6BNE | 1
LC1D1156N5 | 1 | LC1D115A6LSE | 1
LC1D115M6 | 1 | LC1D115AKUE | 1
LC1D115Q5 | 1 | LC1D115ALSE | 1
LC1D115R6 | 1 | LC1D115ALSE | 1
LC1D115S5 | 1 | LC1D115ALSE | 1
LC1D150E7S5 | 1 | LC1D150ABNE | 1
LC1D150ND | 1 | LC1D150AEHE | 1
LC1D15065BD | 1 | LC1D150A6BNE | 1
LC1D1506GD | 1 | LC1D150A6EHE | 1
LC1D15033G7SB431 | 1 | LC1D150AEHE | 1
LC3D115M7A64 | 3 | LC1D115AKUE | 3
LC3D115M7 | 3 | LC1D115AKUE | 3
LC3D115V7 | 3 | LC1D115ALSE | 3
LC3D115E7A64 | 3 | LC1D115ABNE | 3
LC3D115B7 | 3 | LC1D115ABNE | 3
LC3D150F7A64 | 3 | LC1D150AEHE | 3
LC2D1506F7 | 2 | LC1D150A6EHE | 2
LC3D115F7A64 | 3 | LC1D115AEHE | 3
LC1D115P7PK | 1 | LC1D115AKUE | 1
LC1D1506K7 | 1 | LC1D150A6KUE | 1
LC2D1156L7 | 2 | LC1D115A6KUE | 2

## Overload relay
LR9D | Ir | Trip Class | Replaced by | LR9G | Ir | Trip Class
LR9D5367 | 60…100A | Class 10 |  | LR9G115 | 28…115A | Class 5e…30e
LR9D5369 | 90…150A | Class 10 |  | LR9G225 | 57…225A | Class 5e…30e
LR9D5567 | 60…100A | Class 20 |  | LR9G115 | 28…115A | Class 5e…30e
LR9D5569 | 90…150A | Class 20 |  | LR9G225 | 57…225A | Class 5e…30e
LR9D67 | 60…100A | Class 10 & 20 |  | LR9G115 | 28…115A | Class 5e…30e
LR9D69 | 90…150A | Class 10 & 20 |  | LR9G225 | 57…225A | Class 5e…30e
LRD33676 | 95…120A | Class 10 |  | LR9G225 | 57…225A | Class 5e…30e
LRD33696 | 110…140A | Class 10 |  | LR9G225 | 57…225A | Class 5e…30e

## ACC
Current acc and aux | Notes | Current ref. no | Replace by
Connector for cable (Terminal block) | 115/150 3P | LA9D115603 | LAD91503C
Connectors for lug type terminals | 115/150 3P | LA9D115503 | LAD915036
| 115 4P | LA9D115504 | LAD911546
Protective covers for connectors for lug type terminals (IP20) | 115/150 3P | LA9D115703 | LAD9150370
| 115 4P | LA9D115704 | LAD9115470
Contacts | 115 3P | LA5D1158031 | LA5D1153SM
| 150 3P | LA5D150803 | LA5D1503SM
| 115 4P | LA5D115804 | LA5D1154SM
Cover | Standard | LAD9ET4 | LAD9ET5
| Red (for safety chain indication) | LAD9ET4S | LAD9ET5S
Mechanical interlock with integral electrical interlocking | 115/150 | LA9D11502 | LAD5CM
Power connection reverser bar | 115/150 | LA9D11569 | LAD9150369
4P changeover parallel bar | LC1D115004 | LA9D11570 | LAD9115471
3P changeover parallel bar | 115/150 | LA9D11571 | LAD9150371
NOTE: Accessories vary from prior contactor/overload relay design to the new design, both in the types and features of the accessories. These accessories are not interchangable in such a manner that the older design accessory can be used on the newer design contactor/overload relay and vice versa. The below transition list is intended to provide some direction but each should be evaluated based on the application and use to determine proper selection. See the catalog for a list of current accessories and their application.